## Slide 1
KarMiTECH POWER
APM7-SH108 (390-405W)
Key Features
APM7-SH108 Series
390-405W
20.74%
0.55`%
10BB HALF-CELL Black Monocrystalline PERC PV Module
POWER RANGE
12 YEARS PRODUCT WARRANTY
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
25 YEARS OUTPUT GUARANTEE
IEC 61215/IEC 61730
ISO 14001: Emvironmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Compared to conventional modules, this full black modules have a more uniform apperance and superior aesthetics.
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Warranted reliability and stringent quality assurance well beyond certified requirements.
Improved Aesthetics
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
Excellent Quality Management System

## Slide 2
KarMiTECH POWER
APM7-SH120 (435-440W)
Key Features
APM7-SH120 Series
435-450W
20.85%
0.55%
10BB HALF-CELL Black Monocrystalline PERC PV Module
POWER RANGE
12 YEARS PRODUCT WARRANTY
25 YEARS OUTPUT GUARANTEE
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
IEC 61215/IEC 61730
ISO 14001: Emvironmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Compared to conventional modules, this full black modules have a more uniform apperance and superior aesthetics.
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Warranted reliability and stringent quality assurance well beyond certified requirements.
Improved Aesthetics
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
Excellent Quality Management System

## Slide 3
APM7-SHLDD144 (530-555W)
KarMiTECH POWER
535-555W
21.48%
0.45%
POWER RANGE
12 YEARS PRODUCT WARRANTY
30 YEARS OUTPUT GUARANTEE
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
IEC 61215/IEC 61730/IEC 61701/IEC 62716/UL6 1730
ISO 14001: Emvironmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
Key Features
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Warranted reliability and stringent quality assurance well beyond certified requirements.
Excellent Quality Management System
APM-SHLDD144 Series
10BB HALF-CELL Double Glass Monocrystaliline PERC PV Module

## Slide 4
KarMiTECH POWER
APM7-SH144 (530-555W)
Key Features
APM7-SH144 Series
530-555W
21.48%
0.55`%
POWER RANGE
12 YEARS PRODUCT WARRANTY
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
25 YEARS OUTPUT GUARANTEE
10BB HALF-CELL Monocrystalline PERC PV Module
IEC 61215/IEC 61730
ISO 14001: Emvironmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Warranted reliability and stringent quality assurance well beyond certified requirements.
Excellent Quality Management System

## Slide 5
KarMiTECH POWER
APM7-UHLDD144 (555-580W)
APM7-UHLDD144 Series
555-580W
22.44%
0.40%
16BB HALF-CELL N-Type TOPConBifacial Doouble Glass Monocrystalline PV Module
POWER RANGE
12 YEARS PRODUCT WARRANTY
30 YEARS OUTPUT GUARANTEE
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
IEC 61215/IEC 61730
ISO 14001: Emvironmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
Key Features
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Up to 25% additional power gain from back side depending on albedo.
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Warranted reliability and stringent quality assurance well beyond certified requirements.
Bifacial Technology
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
Excellent Quality Management System

## Slide 6
APM8-TPLDD132 Series
645-670W
21.57%
0.45`%
POWER RANGE
12 YEARS PRODUCT WARRANTY
MAXIMUM EFFICIENCY
YEARLY DEGRADATION
12BB HALF-CELL Bifacial Double Glass Monocrystalline
PERC PV Module
KarMiTECH POWER
APM8-TPLDD132 Series (645-670W)
IEC 61215/IEC 61730/UL 61730
ISO 14001: Environmental Management System
ISO 9001: Quality Management System
ISO45001: Occupational Health and Safety Management System
*As there are different certification requirements in different markets. Please contact your local Apollo sales representative for the specific certificates applicable to the products in the region in which the products are to be used.
30 YEARS OUTPUT GUARANTEE
Key Features
More power output in weak light condition, such as haze, cloudy, and early morning.
Resistant to harsh environment such as salt, ammonia sand, high temperature and high humidity envirnment.
Better Weak Illumination Response
Adapt To Harsh Outdoor Environment
MBB Technology reduce the distance between busbars and finger grid line which is benefit to power increase.
Ensured PID resistance through the quality control of cell manufacturing process and raw materials.
Excellent Cells Efficiency
Anti PID
Warranted reliability and stringent quality assurance well beyond certified requirements.
Excellent Quality Management System
Up to 25% additional power gain from back side depending on albedo.
Bifacial Technology